FORM-EN1-2

Application Form of Environmental Conservation and Prevention Plan (ECPP)

Version 5, March/2017

To

Chairman

Thilawa Special Economic Zone Management Committee

Reference No:

Dated:

I hereby apply for the Environmental Permit for the Business planned in the Thilawa Special Economic Zone in accordance with the Notification No. 81/2014 of the Ministry of National Planning and Economic Development by furnishing the particulars as follows:

The Environmental Conservation and Prevention Plan is prepared based on Thilawa SEZ Zone A Industrial Zone International Regulations, EIA Report on Thilawa Zone A Development Project, business description, and condition of surrounding area.

- A. General Information

- A-1: Brief Description of the planned Business

| Item | Description |
| --- | --- |
| a) Name of Company |  |
| b) Type of Business |  |
| c) International Standard Industrial Classification (if any) |  |
| d) Item(s) of Production(s) |  |
| e) Plot number in TSEZ-A |  |
| f) Annual or Daily amount of production (each phase and maximum) |  |
| g) Production Area [m2] |  |
| h) Number of employees (each phase and maximum) |  |
| i) Production process and description of business | See attached file |
| j) List of raw materials and its annual consumption for production | See attached file |
| k) Expected construction period [months] |  |

- A-2: Organization and Person in charge for the Environmental Conservation and Prevention Plan

- [Operation Stage]

| Item | Description |
| --- | --- |
| a) Section (or Department) name in charge of implementation of ECPP |  |
| b) Person in charge |  |
| c) Tel |  |
| d) E-mail |  |
| e) Organization structure | See attached file |

- [Construction Stage]

| Item | Description |
| --- | --- |
| a) Name of contractor |  |
| b) Section (or Department) name in charge of implementation of ECPP |  |
| c) Person in charge |  |
| d) Tel |  |
| e) E-mail |  |
| f) Organization structure | See attached file |

- B. Environmental Conservation and Prevention Plan during Operation

B-1 Air Quality

B-1.1 Are your company expected to install combustion facilities such as furnace(s), engine(s), boiler(s), or turbine(s)?

| □ Yes | If marked, please fill description of combustion facilities in the below table. |
| --- | --- |
| □ No |  |
| □ To be planned |  |

- [Description of Combustion Facility]

| Item | Description |
| --- | --- |
| a) Type of combustion facility |  |
| b) Number of combustion facility [Unit] |  |
| c) Kind of fuel and its consumption [l/hr as fuel oil conversion] (if use fuel) |  |
| d) Kind of material to be used and its hourly consumption [ton/hr] (if use material) |  |
| e) Heat transfer area [m2] (if use boiler) |  |
| f) Grate area or tuyere area [m2] (if use melting furnace or drying furnace) |  |
| g) Transformer capacity rating [KVA/hr] or ampacity [KA] (if use electric furnace) |  |
| h) Capacity of power [MW] (if use electricity) |  |
| i) Other indicators of capacity of combustion facility |  |

- [Amount of Exhaust Gas]

| Item | Volume of Exhaust Gas |
| --- | --- |
| Amount of Exhaust Gas (Dry Base) | [Nm3/h] |
| Amount of Exhaust Gas (Wet Base) | [Nm3/h] |

B-1.2 If your company marked “Yes” on Q B-1.1, please answer the following question.

(1)	Do air pollutants, (such as sulfur dioxide (SO2), nitrogen oxides (NOx), and soot and dust) emitted from combustion facilities comply with the emission standards of international countries, home country, or countries around Myanmar?

| □ Yes | If marked, please describe emission standards to be applied and its value. (Standard to be applied: ,SO2: , NOx: , PM: , Others: ) |
| --- | --- |
| □ Not applicable |  |
| □ To be planned |  |

If marked “Yes”, please describe reason for justification on marking the above checkbox as follows:

If marked “Not applicable”, please describe the reason as follows:

B-1.3 Are adequate measures taken to prevent dust from your business activities such as installation bug filler and ventilation system?

| □ Yes | □ To be planned | □ Not applicable |
| --- | --- | --- |

If marked “Yes”, please describe dust control measures to be applied as follows:

If marked “Not applicable”, please describe the reason as follows:

B-1.4 Are adequate measures taken to prevent VOC from your business activities such as activate carbon filler, ventilation system, wearing masks for workers?

| □ Yes | □ To be planned | □ Not applicable |
| --- | --- | --- |

If marked “Yes”, please describe VOC Control measures to be applied as follows:

If marked “Not applicable”, please describe the reason as follows:

B-2 Water Quality

B-2.1 Please fill in daily amount of water use and wastewater discharge (maximum) below:

| Item | Type of Water | Amount |
| --- | --- | --- |
| Daily amount of water use | For industry | m3/day |
|  | Others (Canteen, Office, Toilet etc.) | m3/day |
|  | Total | m3/day |
| Daily amount of wastewater discharge | From industry | m3/day |
|  | Others (Canteen, Office, Toilet etc.) | m3/day |
|  | Total | m3/day |

B-2.2 Please mark destination of wastewater discharge from each wastewater source:

| 1) Industrial wastewater: | □ MJTD WWTP after pre-treatment by own WWTP (Wastewater Treatment Plant) |
| --- | --- |
|  | □ MJTD WWTP directly |
|  | □ Retention canal/Water body after treatment by own WWTP |
|  | □ No wastewater will be generated |
| 2) Canteen wastewater: | □ MJTD WWTP after pre-treatment by own WWTP |
|  | □ MJTD WWTP directly |
|  | □ Retention canal/Water body after treatment by own WWTP |
|  | □ No wastewater will be generated |
| 3) Office wastewater: | □ MJTD WWTP after pre-treatment by own WWTP |
|  | □ MJTD WWTP directly |
|  | □ Retention canal/Water body after treatment by own WWTP |
|  | □ No wastewater will be generated |
| 4) Toilet wastewater: | □ MJTD WWTP after pre-treatment by own WWTP |
|  | □ MJTD WWTP directly |
|  | □ Retention canal/Water body after treatment by own WWTP |
| 5) Storm water: | □ MJTD WWTP after pre-treatment by own WWTP |
|  | □ MJTD WWTP directly |
|  | □ Retention canal/Water body after treatment by own WWTP |
|  | □Retention canal/Water body directly |

B-2.3 If your company will install treatment by own WWTP, please attach wastewater quality standard to be applied and process flow of wastewater treatment system.

| Type of Wastewater | Item | Description |
| --- | --- | --- |
| 1) Industrial wastewater | Method of wastewater treatment |  |
|  | Target substance/ parameter to be treated by WWTP |  |
|  | Process flow chart of WWTP | See attached file |
| 2) Canteen wastewater | Method of wastewater treatment |  |
|  | Process flow chart of WWTP | See attached file |
| 3) Office wastewater | Method of wastewater treatment |  |
|  | Process flow chart of WWTP | See attached file |
| 4) Toilet wastewater | Method of wastewater treatment |  |
|  | Process flow chart of WWTP | See attached file |

- [Reference]

| [MJTD Standard of Wastewater quality after Pre-wastewater treatment by the Locator] |  |  |  |
| --- | --- | --- | --- |
| No. | Parameter | TSEZ-A's WQ standard | Unit |
| 1 | BOD5 (5days at 20·ºC) | max 200 | ppm |
| 2 | Suspended Solids (SS) | max 200 | ppm |
| 3 | Total Dissolved Solids | max 2,000 | ppm |
| 4 | pH Value | 6-9 | - |
| 5 | CODMn Permanganate value | - | ppm |
| 6 | CODCr Dichromate value | max 400 | ppm |
| 7 | Sulphide (as HS) | max 1 | ppm |
| 8 | Cyanide (as HCN) | max 0.1 | ppm |
| 9 | Cyanide (Total) | max 1 | ppm |
| 10 | Oil and grease | max 40 | ppm |
| 11 | Total coliform bacteria | - | - |
| 12 | Tar | - | - |
| 13 | Formaldehyde | max 1 | ppm |
| 14 | Phenols | max 0.5 | ppm |
| 15 | Free chlorine | max 1 | ppm |
| 16 | Heavy Metals (total) | Max 10 | ppm |
| 17 | Zinc | max 2 | ppm |
| 18 | Chromium | max 0.5 (total) | ppm |
|  |  | Max 0.1 (hexavalent) |  |
| 19 | Arsenic | max 0.1 | ppm |
| 20 | Copper | max 0.5 | ppm |
| 21 | Mercury | max 0.005 | ppm |
| 22 | Cadmium | max 0.03 | ppm |
| 23 | Barium | max 1.0 | ppm |
| 24 | Selenium | max 0.02 | ppm |
| 25 | Lead | max 0.1 | ppm |
| 26 | Nickel | max 0.2 | ppm |
| 27 | Insecticides | - | - |
| 28 | Radioactive Material | - | - |
| 29 | Temperature | ≤ 35 | ºC |
| 30 | Colour and Odour | max 150 | [Co-Pt] |
| 31 | T-N | max 80 | ppm |
| 32 | Ammonia | max 80 | ppm |
| 33 | Fluoride | max 20 | ppm |
| 34 | Iron | max 3.5 | ppm |
| 35 | Silver | max 0.5 | ppm |
| 36 | Total Phosphorous | max 8 | ppm |

*Locator shall monitor the Free Cyanide instead of the Total Cyanide if Locator’s production process will not discharge the Total Cyanide. Locator shall monitor the Total Cyanide if Locator’s production process will discharge the Total Cyanide.

* Regarding the Oil and grease, only animals and vegetable oil may discharge to MJTD’s sewage system. Industrial oil and grease shall not discharge to MJTD’s sewage system and shall be treated by proper oil and grease trap by locator.

Note 1: Some parameters have been added/changed on 22nd January 2018 by MJTD (Ref: MJTD/O/18-01-627, Notification: Standard of Wastewater Quality Changed on Thilawa Special Economic Zone (Zone A) Industrial Zone Internal Regulations

B-2.4 If your company will NOT connect wastewater to MJTD WWTP BUT discharge to water body, please mark target level to be applied as follows. In addition, please attach wastewater quality standard to be applied and process flow of wastewater treatment system:

| □ MOI wastewater guideline |  |
| --- | --- |
| □ National Environmental Quality (Emission) guideline |  |
| □ Other countries | If marked, please attach target level of treated wastewater quality to this form. |
| □ International standard | If marked, please attach target level of treated wastewater quality to this form. |
| □ Original | If marked, please attach target level of treated wastewater quality to this form. |

| Type of Wastewater | Item | Description |
| --- | --- | --- |
| 1) Industrial wastewater | Method of wastewater treatment |  |
|  | Process flow chart of WWTP | See attached file |
| 2) Canteen wastewater | Method of wastewater treatment |  |
|  | Process flow chart of WWTP | See attached file |
| 3) Office wastewater | Method of wastewater treatment |  |
|  | Process flow chart of WWTP | See attached file |
| 4) Toilet wastewater | Method of wastewater treatment |  |
|  | Process flow chart of WWTP | See attached file |

B-3 Solid Waste

B-3.1 Are non-hazardous wastes from your company properly treated and disposed in accordance with Thilawa SEZ Zone A Industrial Zone International Regulations or your companies policy?

| □ Yes | □ To be planned |  |
| --- | --- | --- |

If marked “Yes”, Please describe non-hazardous waste management to be applied and estimated yearly/ monthly/ daily volume of each kind of waste as follows:

If marked “Not applicable”, please describe the reason as follows:

B-3.2 Are hazardous wastes from your company properly treated and disposed in accordance with Thilawa SEZ Zone A Industrial Zone International Regulations or your companies policy?

| □ Yes | □ To be planned | □ Not applicable |
| --- | --- | --- |

If marked “Yes”, please describe hazardous waste management to be applied and estimated yearly/ monthly/ daily volume of each kind of waste as follows:

If marked “Not applicable”, please describe the reason as follows:

B-4 Soil Contamination

B-4.1 Are adequate measures taken to prevent soil contamination by leaked materials, such as raw materials, products, and chemical agents?

| □ Yes | □ To be planned | □ Not applicable |
| --- | --- | --- |

If marked “Yes”, please describe soil contamination measures to be applied as follows:

If marked “Not applicable”, please describe the reason as follows:

B-5 Noise and Vibration

B-5.1 Are adequate measures taken to comply with noise and vibration standards of Thilawa SEZ Zone A Industrial Zone International Regulations?

| □ Yes | □ To be planned | □ Not applicable |
| --- | --- | --- |

If marked “Yes”, please describe noise and vibration measures to be applied as follows:

If marked “Not applicable”, please describe the reason as follows:

B-5.2 Please describe/ highlight target noise and vibration level to be applied based on Thilawa SEZ Zone A Industrial Zone International Regulations taking into consideration on location of plot and surrounding conditions?

- [Reference]

| MJTD Environmental Quality Standards for Noise Unit: dB (A) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category |  | Day Time (Leq_A) (7am - 7pm) | Evening Time (Leq_A) (7pm - 10pm) | Evening Time (Leq_A) (10pm - 7am) |
| I. Noise Standard in Construction Phase |  |  |  |  |
| 1 | A side next to residential house and monastery located less than 150m | 75 dB | 60 dB | 55 dB |
| 2 | Other than 1 | 75 dB | 65 dB | 65 dB |
| II. Noise Standard in Operation Phase |  |  |  |  |
| 1 | A side next to sensitive area such as monastery, hospital, and school | 60 dB | 55 dB | 50 dB |
| 2 | A side next to residential area | 65 dB | 60 dB | 55 dB |
| 3 | A side next to commercial and industrial areas including inside of T-SEZ Zone A | 70 dB | 65 dB | 60 dB |
| Note: Evaluation point is at boundary of locator’s property |  |  |  |  |

- [Reference]

| MJTD Environmental Quality Standards for Vibration Unit: dB |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category |  | Day Time (Lv) (7am - 7pm) | Evening Time (Lv) (7pm - 10pm) | Evening Time (Lv) (10pm - 7am) |
| 1 | A side next to residential house and Monastery | 65 dB | 60 dB | 60 dB |
| 2 | A side next to office, commercial facilities, and factories including inside of T-SEZ Zone A | 70 dB | 65 dB | 60 dB |
| Note: *1: Evaluation point is at boundary of locator’s property Note: *2: Reference acceleration of vibration is 10-5 m/s2 |  |  |  |  |

B-6 Odor

B-6.1 Are there any odor sources?

| □ Yes | □ To be planned | □ Not applicable |
| --- | --- | --- |

B-6.2 If you marked “Yes” or “To be planned” on Q B-6.1, please describe odor control measures to be applied as follows:

If marked “Yes”, please describe odor control measures to be applied as follows:

If marked “Not applicable”, please describe the reason as follows:

B-7 Hazardous and Chemical Substances

B-7.1 Are there any hazardous substance to be dealt with?

| □ Yes | □ To be planned | □ Not applicable |
| --- | --- | --- |

B-7.2 If you marked “Yes” or “To be planned” on Q B-7.1, please describe hazardous and chemical substances control measures to be applied as follows:

If marked “Yes”, please describe hazardous substance control measures to be applied and estimated yearly/ monthly/ daily volume of each kind of hazardous and chemical substance as follows:

If marked “Not applicable”, please describe the reason as follows:

B-8 Greening Plan

B-8.1 Does your company plans to natural environment conservation related to greening (planting trees, vegetation and sodding)?

| □ Yes | If marked, please describe area of greening space or number of trees, attach drawing of greening plan etc.( ) |
| --- | --- |
| □ No |  |
| □ To be planned |  |

B-9 Landscape

B-9.1 Does your company plans take measures on consideration of landscape such as installation of planting trees, fence, design?

| □ Yes | If marked, please describe measures on consideration of landscape such as set back, harmonizing surrounding scenery, mitigation measures on oppressive factors as follows: |
| --- | --- |
| □ No |  |
| □To be planned |  |

If marked “Yes”, please describe measures on consideration of landscape as follow:

If marked “No”, please describe the reason as follows:

B-10 Local Water Use

B-10.1 Is there a possibility that wastewater and leachates by the project will adversely affect the existing water uses and water area uses?

| □ Yes | □ No | □ Not sure |
| --- | --- | --- |

Please describe reason for justification on marking the above checkbox as follows:

B-11 Occupational Health and Safety

B-11.1 Are adequate measures considered to manage occupational health and safety during operation (e.g., working condition, social security, accident, sanitation, infection, management of hazardous substances, education and training, certification to be applied?

| □ Yes | □ No | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected consideration measures as follows:

If marked “No”, please describe the reason as follows:

B-12 Community Health and Safety

B-12.1 Are adequate measures considered to manage community health and safety during operation (e.g., traffic accident on road, intrusion prevention, sanitation, certification to be applied)?

| □ Yes | □ Not required | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected consideration measures as follows:

If marked “Not required”, please describe the reason as follows:

B-13 Other Social Considerations

B-13.1 Does your company plan to social considerations such as contribution to living and livelihood for local community around Thilawa SEZ Industrial Zone, Cooperation Social Responsibility (CSR) activities, and Social Investment.

| □ Yes | □ No | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected considerations as follows:

B-14 Emergency Risks

B-14.1 Are adequate measures considered to manage emergency risk management during operation (e.g., fire extinguishing facilities, escape gate, flood risk control)?

| □ Yes | □ Not required | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected consideration measures as follows:

If marked “not required”, please describe the reason as follows:

B-15 Transboundary or Global issues

B-15.1 Is there a possibility that the activities of your company includes impacts to transboundary or global issues (e.g., transboundary waste treatment, acid rain, destruction of the ozone layer, and global warming)?

| □ Yes | □ No | □ Not sure |
| --- | --- | --- |

If marked “Yes”, please describe transboundary or global issues and its measures to be applied as follows:

C. Environmental Conservation and Prevention Plan during Construction

C-1 Pollution Control

C-1.1 Are adequate measures considered to reduce environmental impacts during construction (e.g., noise, vibrations, wastewater, dust, exhaust gases, wastes, and oil leakage)?

| □ Yes | □ No | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected consideration measures as follows:

If marked “No”, please describe the reason as follows:

C-2 Water Usage

C-2.1 Please fill in daily amount of water use (maximum) during construction below:

a) Daily amount of water use (maximum):									m3/day

C-3 Occupational Health and Safety

C-3.1 Are adequate measures considered to manage occupational health and safety during construction (e.g., working condition, accident, sanitation, infection, management of hazardous substances, education and training?

| □ Yes | □ No | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected consideration measures as follows:

If marked “No”, please describe the reason as follows:

C-4 Community Health and Safety

C-4.1 Are adequate measures considered to manage community health and safety during construction (e.g., traffic accident on road, intrusion prevention, sanitation)?

| □ Yes | □ No | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected consideration measures as follows:

If marked “No”, please describe the reason as follows:

C-5 Other Social Considerations

C-5.1 Does your company or contractor plans to social considerations such as contribution to living and livelihood for local community around Thilawa SEZ Industrial Zone.

| □ Yes | □ No | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected considerations as follows:

If marked “No”, please describe the reason as follows:

C-6 Emergency Risks

C-6.1 Are adequate measures considered to manage emergency risk management during construction (e.g., fire extinguishing facilities, escape gate, flood risk control)?

| □ Yes | □ Not required | □ To be planned |
| --- | --- | --- |

If marked “Yes”, please describe expected consideration measures as follows:

If marked “No”, please describe the reason as follows:

- D. Monitoring Plan

D-1 Monitoring Plan in Operation Phase

D-1.1 Please fill in the below table regarding monitoring plan of each environmental and social element in operation phase

| Environmental and Social Element | Monitoring Item | Location | Frequency |
| --- | --- | --- | --- |
| B-1 Air Quality |  |  |  |
| B-2 Water Quality |  |  |  |
| B-3 Solid Waste |  |  |  |
| B-4 Soil Contamination |  |  |  |
| B-5 Noise and Vibration |  |  |  |
| B-6 Odor |  |  |  |
| B-7 Hazardous and Chemical Substances |  |  |  |
| B-8 Greening Plan |  |  |  |
| B-9 Landscape |  |  |  |
| B-10 Local Water Use |  |  |  |
| B-11 Occupational Health and Safety |  |  |  |
| B-12 Community Health and Safety |  |  |  |
| B-13 Other Social Considerations |  |  |  |
| B-14 Emergency Risks |  |  |  |
| B-15 Transboundary or Global issues |  |  |  |

- Note: If an environmental and social element is not expected to cause adverse impact, please fill “Not expected to cause adverse impact” into monitoring item.

D-1.2 Please fill in frequency of submission of monitoring report to Thilawa SEZ Management Committee:

a)      times/year during operation (note: 2 times/year is minimum requirement)

D-2 Monitoring Plan in Construction Phase

D-2.1 Please fill in the below table regarding monitoring plan of each environmental and social element in construction phase.

| Monitoring item | Description | Location | Frequency |
| --- | --- | --- | --- |
| C-1 Pollution Control |  |  |  |
| C-1.1 Noise, vibrations |  |  |  |
| C-1.2 Wastewater |  |  |  |
| C-1.3 Dust |  |  |  |
| C-1.4 Exhaust gases |  |  |  |
| C-1.5 Solid waste |  |  |  |
| C-1.6 Oil leakage |  |  |  |
| C-2 Water Use |  |  |  |
| C-3 Occupational Health and Safety |  |  |  |
| C-4 Community Health and Safety |  |  |  |
| C-5 Other Social Considerations |  |  |  |
| C-6 Emergency Risks |  |  |  |

- Note: If an environmental and social element is not expected to cause adverse impact, please fill “Not expected to cause adverse impact” into monitoring item.

D-2.2 Please fill in frequency of submission of monitoring report to Thilawa SEZ Management Committee in construction phase

a)      times/during construction (note: 2 times/during construction at interim and final is minimum requirement)

Date:	 																	Signature of the Applicant.............

Name in Block Letters

Title

Official Seal/Stamp

Tel. No.

E-mail

Address

UNDERTAKING

I/We hereby declare that the above statements are true and correct to the best of my/our knowledge and belief. I/We shall abide by any other condition, which may be stipulated by the Chairman of the Management Committee.

I/We fully understand that any Permission Letter/Approval granted to me/us on the basis of the statement furnished is liable to cancellation or any other action that may be taken having regard to the circumstances of the case if it is found that any of the statements or facts therein are incorrect or false.

I/We hereby declare to strictly comply with provisions of internal regulations provided by the Zone Developer of Thilawa Special Economic Zone.

Date:					                         Signature of the Applicant

Name in Block Letters

Title

Official Seal/Stamp

Tel. No.

E-mail

Address

- OSSC use only:

- Received Date:-----------/-------------/-------------

- ECPP No. : ECPP-----------------------------------

- Name : -----------------------------------------------

- Signature : ------------------------------------------

EIA Report for Thilawa SEZ Development Project (Zone A) is available on the web site of TSMC (especially, please refer to Chapter 9 (p.209-215)). http://myanmarthilawa.com/sites/default/files/downloads/2014/04/eia.pdf

Including back-up generator(s).